## Slide 1: EXTERNAL QUALITY ASSURANCE Malawi Project
Ronald Khunga

## Slide 2: Outline
Objectives
Background
External Quality Assurance
ZINQAP Experience
Achievements
Challenges
Way forward

## Slide 3: Objectives
Understanding where and how EQA is used to help to maintain and improve the quality of laboratory medicine services.
Training in the organization and delivery of a national/international EQA service provider.

## Slide 4: Background
Quality is of utmost importance in a clinical and research laboratory
Laboratory Accreditation is a key objective in Malawi
EQA is a requirement for accreditation
Malawi has no independent National EQA scheme

## Slide 5: Quality Assurance (1)
All measures taken to ensure quality
IQC
EQA

## Slide 6: Quality Assurance (2)
Analytical
IQC
Sample testing
Pre Analytical
Sample collection
Sample reception
Post Analytical
Results
Reports
Data management

## Slide 7: Quality Assurance (3)
LABORATORY QUALITY MANAGEMENT SYSTEM (ISO15189)
QUALITY POLICY
QUALITY CONTROL
QUALITY ASSURANCE
OTHER ASPECTS OF GLP
IQC
EQA

## Slide 8: External Quality Assessment
Describes a method/process that allows testing conducted by a laboratory, testing site or individual user to be compared to that of a source outside the laboratory.

## Slide 9: IQC vs EQA
 | IQC | EQA
Results | Known results | Unknown results
Results Available | Immediately | Later
Frequency of testing | Minimum daily | Periodically
Concentrations | Normal, abnormal | Multiple
Assess | Imprecision | Accuracy and imprecision
Comparison | Your lab only | Your lab to all labs & other labs using your method

## Slide 10: Objectives of EQA
Provide a measure for individual laboratory quality
To supplement internal quality control procedures
To obtain consensus values when true values are unknown
To investigate factors in performance (methods, staff etc)
To act as an educational stimulus to improvement in performance

## Slide 11: Who should be on EQA?
Clinical laboratories
Research laboratories
Testing sites

## Slide 12: Barriers to EQA Participation
Participant | Provider
Lack of knowledge | Insufficient funding
Policing mentality | 
Cost of EQA panels | 

## Slide 13: Advantages/ Benefits of EQA
Confidence builder
Bench marker
Identifies gaps and areas for improvement
Requirement for accreditation
Provides valuable information on state of lab services

## Slide 14: Advantages/ Benefits of a National EQA
Confidence builder to the nation
Cost effective
Quicker and more efficient follow ups and corrective actions- reduces space barrier

## Slide 15: EQA Process
Selection of PT Scheme
Enrolment of participants
Data entry and management
Receiving of results
Dispatch of samples
Sample prep and packaging

## Slide 16: My Experience at ZINQAP

## Slide 17: Objectives
To acquire in depth knowledge of running an External Quality Assessment program
To be oriented in the day to day routine laboratory and administrative activities
To participate in Proficiency testing activities

## Slide 18: Introduction (1)
3 month PMEP visit funded by IFCC
1 month at University of Zimbabwe (Chemical Pathology dept.) and 2 months at ZINQAP laboratory.
Supervised by
Prof. H. Matarira (UZ)
Mr. C. Musarurwa (UZ)
Dr. Mujaji (ZINQAP)
Mrs. S. Zimuto (ZINQAP)

## Slide 19: Introduction (2)
>80% of labs participate in one or more PT schemes
80 % of those are mostly private labs
ZINQAP mandated to provide EQA services in Zimbabwe
Trust governed by a board
5 Lab professionals, 2 Administrative, 1 Driver

## Slide 20: Activities
Preparation and dispatch of PT material
Planning of PT Scheme
Data entry and Management
Orientation in QMS of a PT lab (ISO 17043)
Participation in planning meetings
Presentation of attachment period at high profile CPD at UZ.

## Slide 21: Preparation and dispatch of PT material
Human samples used i.e. whole blood for FBC and blood bank, blood smears for malaria
Imported lyophilized samples for biochemistry scheme
Lyophilization equipment available but not installed
Samples dispatched by Participant’s preferred transporter (FedEx, Swift etc.)
80% of labs participate in one or more PT schemes

## Slide 22: Planning of PT Scheme
Enrolment of participants
Stock management (reagents, supplies like dispatch boxes, samples tubes, slides etc)

## Slide 23: Data entry and Management
Use of PT Assist software
Participants feedback through hardcopy delivery (FedEx, Swift) and electronic (email and WhatsApp)
Statistical (consensus value) means of data evaluation (PT Assist) for quantitative tests.
Feedback given to participants upon dispatch of next PT round.
Certificates of excellence and participation given.

## Slide 24: Achievements
Gained knowledge in the requirements in running an EQA program
Participation in technical and planning meetings
Participation in the preparation and dispatch of PT samples (April and May shipments)
Participation in in-house orientation trainings on Quality Management Systems in a PT laboratory.

## Slide 25: Challenges
Limitation of time meant some of the trainings were not done
Some equipment were not yet installed thus training on them was not done.
No means of follow up/ corrective actions on labs which were failing PTs
Cost of PT materials meant some labs participated in fewer schemes.

## Slide 26: Way forward (1)
EQA can be done
Need for independent, stand alone program
Need for consistent funding
Need for user and stakeholder buy in

## Slide 27: Way forward (2)
  Develop an EQA Establishment Work plan
  Establish an EQA Technical Working Group – Steering Committee
  Involve all key stakeholders to ensure buy-in and effective operation

## Slide 28: Acknowledgements